## Slide 1: Metrology Automation Lunch & Learn Metrology.NET® Drivers
Michael L. Schwartz

## Slide 2
OOP (Object Oriented Programming) in VB.NET
        Threaded Automation & Actor Paradigm
        Intro to Metrology Taxonomy
        Basic 17025 Uncertainties
        Customizable Uncertainties without Code Changes
Learning Objectives

## Slide 3
Veteran owned business, ex-military metrologist
Core business is software
  Metrology consulting
  Efficiencies through automation
  Turn-key system
Focus on finding the right solution for the customer
  Created Metrology.NET® in 2015
  World’s largest MET/CAL® procedure library
  PS-Cal® power sensor calibration solution - Now Tegam’s Product
  C# web-based asset management system
Acquired Cal Lab Magazine in 2011
About Cal Lab Solutions

## Slide 4: Business is about Efficiency?
Better
Cheaper
Faster
That doesn’t mean less accurate

## Slide 5
Cal Lab Solutions writes custom software for companies around the world.
We needed more powerful tools for automating calibration
We wanted to create Standard Metrology Process
            Tie Metrology Process to Uncertainty Calculation
            Reuse the Process & Uncertainties with no Code Change
Problem Statement

## Slide 6
Overview
Build a Metrology Software Solution that meets the needs from NMI to production.
Each level has different Requirements
NMIs are pushing the limits small nuances of the measurement
Production wants Turn-Key Flexible Standards
Metrology.NET covers the Entire Pyramid

## Slide 7
Taxonomy Is the Glue that Binds
It all Together
NCSLI 141 – MII & Automation Working on a Metrology Taxonomy
We meet EVERY Monday
2:00 pm MST
Metrology Taxonomy

## Slide 8
Metrology Taxonomy
root
Source
Measure
Amps
Volts
Amps
Volts
AC.Sine
DC
AC.Sine
DC
AC.Sine
DC
AC.Sine
DC
Source.Volts.DC
Source.Amps.DC
Source.Volts.AC.Sine
Source.Amps.AC.Sine
Measure.Amps.AC.Sine
Measure.Amps.DC
Measure.Volts.AC.Sine
Measure.Volts.DC
(Implementation)
(Implementation)
(Implementation)
(Implementation)
(Implementation)
(Implementation)
(Implementation)
(Implementation)
The industry needs to build a Taxonomy of Measurements so we can index, catalog, and easily share measurement related data.

## Slide 9
Metrology.NET Overview
Test points are the key in Metrology.NET®
Core Data (Nominal, Limits, Unit of Measure)
Metadata – Data about the data
  Better defines a test point
  Describes test point details
Metadata in Name Values Pairs
Infinitely expandable
AC Voltage example
  Volts = 10
  Frequency = 10e3
  Range= 10
  Impedance= 1e6

## Slide 10
Metrology.NET Overview
Industry Standard
Any Software Platform that can
Authenticate with Metrology.NET Server
Download TestPoints
Upload TestResults
… is Metrology.NET Compliant!
VB.NET, C#.NET LabView MET/CAL® HP VEE JAVA
KISS

## Slide 11
Metrology.NET Overview
I/O
Programming Standard Custom Code
Type Added Code Base Added Code – Shared by All I/O Text Messages
20 % Specific to Process
80% Part of the System

## Slide 12
Test Process Source.Volts.AC (Fluke 5720A)
---------------------------------
Section= Reset
*RST
*OPC?
---------------------------------
Section= Setup
CONF:VOLT:AC
SENS:VOLT:AC:RANG [Range]
SENS:VOLT:AC:BAND [Filter]
*OPC?
---------------------------------
Section= Measure
READ?
READ?
---------------------------------
VISA Script
Run()
STD.Reset UUT.Reset
For Each TestPoint
UUT.Setup
STD.Setup
STD.Enable
UUT.Measure
TestPoint.SaveData
STD.Disable
Next
RESULTS!
Metrology.NET Way

## Slide 13
Code Review Fluke 5720A AC Volts Test Process Source
Fluke Source AC Volts
Unc Calc
Fluke 5720A Driver
UI Options
Fluke 5720A AC Volts Test Process – Characterized
Characterization Object
Unc Calc
Fluke 5520A AC Volts Test Process Source
Transmille 4010 AC Volts Test Process
Test Point Filters
Code Review

## Slide 14
Uncertainty Override
Post Process Uncertainties
The Value is passed to the Calculator
AC Voltage example: Volts = 10 Frequency = 10e3 Range = 10 Impedance = 1e6 Calibrator = 5720A Interval = 1 Year Resolution = 1e7 Repeatability = 1.456e-7
Quality Magazine
Oct 2015, Volume 54/Number 10

## Slide 15
Uncertainty Override

## Slide 16
Free Example Code To all Metrology.NET Users
https://github.com/CalLabSolutions/SASO

## Slide 17
OOP (Object Oriented Programming) in VB.NET
        Threaded Automation & Actor Paradigm
        Intro to Metrology Taxonomy
        Basic 17025 Uncertainties
        Customizable Uncertainties without Code Changes
Learning Objectives

## Slide 18: Questions? / Comments
Michael L. Schwartz
Cal Lab Solutions
mschwartz@callabsolutions.com