## Slide 1: Metrology Automation Lunch & Learn Metrology.NET® Testing Environment
Michael L. Schwartz

## Slide 2
OOP (Object Oriented Programming) in VB.NET
        Metrology.NET Driver Structure
        Testing Threaded Applications
        Setting up a testing solution in Visual Studio
Learning Objectives

## Slide 3
Veteran owned business, ex-military metrologist
Core business is software
  Metrology consulting
  Efficiencies through automation
  Turn-key system
Focus on finding the right solution for the customer
  Created Metrology.NET® in 2015
  World’s largest MET/CAL® procedure library
  PS-Cal® power sensor calibration solution - Now Tegam’s Product
  C# web-based asset management system
Acquired Cal Lab Magazine in 2011
About Cal Lab Solutions

## Slide 4: Business is about Efficiency?
Better
Cheaper
Faster
That doesn’t mean less accurate

## Slide 5
Before someone can test, debug and develop software in Metrology.NET first they have to CORRECTLY set up a testing solution in Visual Studio.
Problem Statement

## Slide 6
Testing AC Voltage Test on a 34401A
HP 34401A Test Package – Already Created
VISA Script for AC Voltage – Already Created
Standards Used
Fluke 5730A
Driver - Already Created
Source Volts AC – Already Created
Test Process Source Volts AC – Already Created
Setup Test Testing Environment
Visual Studio 2017
Community addition - Free
Needed Libraries
Metrologynet.dll
MessageService.dll
Microsoft .NET reactive libraries
Testing Requirements

## Slide 7
Visual Studio Setup
Select New Project
Select Other Project Types
Select Visual Studio Solutions
Navigate to C:\_Programming\MS.NET\ SASO\<Company>\Testcode
Project Name SampleTestingSolution
Set Framework to 4.0

## Slide 8
Solution Setup
Select Add
  Existing Projects in C:\_Programming\MS.NET\SASO
..\CLS\TestCode\TestPointSelector TestPointSelector.vbproj
..\CLS\Drivers\Fluke_5720A Fluke_57x0A.vbproj
..\CLS\Drivers\UUT_Command UUT_TpControl.vbproj

## Slide 9
Solution Setup
Select Add
  New Project Projects
.NET Framework 4
Visual Basic Windows Classic Desktop
Empty Project(.NET Framework)
Name: SampleTestingProject
in: C:\_Programming\MS.NET\SASO\<Company>\TestCode\SampleTestingSolution

## Slide 10
Project Setup
SampleTestingProject Set as Startup Project
Startup Object Sub Main

## Slide 11
Project Setup
Project Must be set to x86

## Slide 12
Project Setup
Add References from C:\_Programming\MS.NET\SASO\References MetrologyNet.dll MessageService.dll
Add .Net Reactive References from C:\_Programming\MS.NET\SASO\References\Reactive

## Slide 13
Project Setup
Add Project References Fluke_57x0A TestPointSelector UUT_TpControl

## Slide 14
Project Setup
Add Forms References System.Windows.Forms

## Slide 15
References should look like this
Spread Sheet Review

## Slide 16
Add AppMain
Add new Item to Project
Module
Named AppMain.vb

## Slide 17
AppMain Code

## Slide 18
Add Fluke57x0_Config
Add new Item to Project
Module
Named Fluke57x0_Config.vb

## Slide 19
Add Code

## Slide 20
Add Code

## Slide 21
Add Code

## Slide 22
AppMain Code

## Slide 23
Run the Program
Show Login Form
Show Test Selection Form
Show Run Button
Show Break Points and Stepping
Code Review

## Slide 24
Driver Overview
I/O
Test Process  Source  Instrument
UUTs are Interchangeable

## Slide 25
OOP (Object Oriented Programming) in VB.NET
        Metrology.NET Driver Structure
        Testing Threaded Applications
        Setting up a testing solution in Visual Studio
Learning Objectives

## Slide 26: Questions? / Comments
Michael L. Schwartz
Cal Lab Solutions
mschwartz@callabsolutions.com