## Slide 1: Metrology Automation Lunch & Learn Metrology.NET® Building Drivers with Reusable
Michael L. Schwartz

## Slide 2
OOP (Object Oriented Programming) in VB.NET
New Reusable DLL
        .NET Reflection
        Properties and Attributes
        Testing & Running Metrology.NET
Learning Objectives

## Slide 3
Veteran owned business, ex-military metrologist
Core business is software
  Metrology consulting
  Efficiencies through automation
  Turn-key system
Focus on finding the right solution for the customer
  Created Metrology.NET® in 2015
  World’s largest MET/CAL® procedure library
  PS-Cal® power sensor calibration solution - Now Tegam’s Product
  C# web-based asset management system
Acquired Cal Lab Magazine in 2011
About Cal Lab Solutions

## Slide 4: Business is about Efficiency?
Better
Cheaper
Faster
That doesn’t mean less accurate

## Slide 5
Every line of code you write, is a line of code you have to debug and support!
As much as 80% of the cost of software is in support and maintains costs.
We needed to make some changes to driver in Metrology.NET and didn’t want to create more code.
Problem Statement

## Slide 6
Shorts & Opens are more accurate than the calibrators. We needed to add the option to use a Short / Open in the following Test Process: Source.Capacitance
Source.Current.DC Source.Resistance Source.Voltage.DC In the Following Drivers:
Fluke 55xxA
Fluke 57xxA
Transmille 4010A
Run Time Configuration
We added a new Attribute “RunTimeConfigParameter”
Any Property in a Test Process with this attribute is now configurable at runtime
Created two new Reusable Test Process
TestProcessTypicalSource TestProcessTypicalMeasure
Update Requirements

## Slide 7
Code Review
Old Code
The Fluke 55xx Source.Voltage.DC needed to have the option testing zero volts DC with a short or the calibrator.
This would have added ~200 lines of code making the total code ~500 lines of code.
Then Source.Capacitance, Source.Current.DC, Source.Resistance in the 57xx & 4010 would also need an additional 200 lines of code for a total of ~2400 additional lines of code.
Debugging 2400 lines of code is a lot of work.

## Slide 8
High Level Code Change
What is common with all the code is the metrology process.
So… Lets make that code Reusable/
For Each TestPoint
Check the Connection
Calibrate
Setup the Reference Standard
Setup the Unit Under Test
Enable the Output
Make a Measurement Disable the Output Next
By attaching the TestPoint(s) to the Connection Now we Can
For Each Connection
Make Connection
For Each TestPoint (In Connection)
Calibrate
Next
Next

## Slide 9
Code Review
Creating a Reusable / Generic Class Decrease code by as much a 1/3
Reusable

## Slide 10
Code Review
Test Process will Inherit Reusable

## Slide 11
Code Review
Test Process will Inherit Reusable

## Slide 12
Code Review
The Run Function Call Becomes Standard

## Slide 13
Connection Groups
The Run Function Call Becomes Standard

## Slide 14
Code Review

## Slide 15
Run Time Configuration
The Run Function Call Becomes Standard

## Slide 16
Run Time Configuration

## Slide 17
Run Time Configuration
The TestProcess TestSetup Function will look for RunTimeConfigParameter and allow the operator to set that property at the start of the Run Process

## Slide 18
Run Time Configuration
Run Time Configuration on the UI.

## Slide 19
OOP (Object Oriented Programming) in VB.NET
New Reusable DLL
        .NET Reflection
        Properties and Attributes
        Testing & Running Metrology.NET
Learning Objectives

## Slide 20: Questions? / Comments
Michael L. Schwartz
Cal Lab Solutions
mschwartz@callabsolutions.com