## Slide 1: Metrology Automation Lunch & Learn Metrology.NET® ISO/IEC 17025 Uncertainties
Michael L. Schwartz

## Slide 2
OOP (Object Oriented Programming) in VB.NET
Measurement Uncertainties in the Drivers
        Resolution & Repeatability
        Formatting Excel Spreadsheets for Metrology.NET®
        Uploading and Using Excel Spreadsheets
Learning Objectives

## Slide 3
Veteran owned business, ex-military metrologist
Core business is software
  Metrology consulting
  Efficiencies through automation
  Turn-key system
Focus on finding the right solution for the customer
  Created Metrology.NET® in 2015
  World’s largest MET/CAL® procedure library
  PS-Cal® power sensor calibration solution - Now Tegam’s Product
  C# web-based asset management system
Acquired Cal Lab Magazine in 2011
About Cal Lab Solutions

## Slide 4: Business is about Efficiency?
Better
Cheaper
Faster
That doesn’t mean less accurate

## Slide 5
Automation software uncertainties and a lab’s accredited uncertainties don’t match.
How does Metrology.NET® calculate uncertainties?
Problem Statement

## Slide 6
We are going to look at a Fluke 5720A’s Uncertainties for Test Process.Source.Voltage.DC:
First in the Driver
Then adding Resolution and Repeatability
Then a Spreadsheet for the Fluke 5720A:
The Metrology.NET tab
Scope of Accreditation Uncertainties
Manual Calibration Uncertainties.
The Metrology.NET tab
Use Metrology.NET Uncertainties with any software
Example Overview

## Slide 7
Code Review
Fluke 5720A Measurement Uncertainties

## Slide 8
Code Review
Fluke 5720A Measurement Uncertainties

## Slide 9
Code Review
Test Process adds Resolution & Repeatability

## Slide 10
Code Review
User Interface Shows the Test Result Values

## Slide 11
Alternate Uncertainty Calc
You can use an Alternate Uncertainty Calculator

## Slide 12
Alternate Uncertainty Calc
You can use an Alternate Uncertainty Calculator

## Slide 13
Alternate Uncertainty Calc
You can use an Alternate Uncertainty Calculator

## Slide 14
Alternate Uncertainty Calc
Upload an Uncertainty calculator

## Slide 15
Alternate Uncertainty Calc
Upload an Uncertainty calculator

## Slide 16
Alternate Uncertainty Calc
Upload an Uncertainty calculator

## Slide 17
Alternate Uncertainty Calc
You can use an Alternate Uncertainty Calculator

## Slide 18
Manual Calibration Unc
The Uncertainty Calculator is also Available for Manual Calibration

## Slide 19
Quality Magazine – “How to Add Dynamic Measurement Uncertainties to Any Metrology Software”
https://digital.bnpmedia.com/publication/?i=273926&p=36
or
https://www.callabsolutions.com/category/papers-articles/
Cal Lab Magazine – “Using Metrology.NET to Calculate ISO/IEC 17025 Uncertainties for Fluke MET/CAL”
https://www.callabmag.com/using-metrology-net-to-calculate-isoiec-17025-uncertainties-for-fluke-metcal/
Or
https://www.metrology.net/papers/
Homework Assignment

## Slide 20
OOP (Object Oriented Programming) in VB.NET
Measurement Uncertainties in the Drivers
        Resolution & Repeatability
        Formatting Excel Spreadsheets for Metrology.NET®
        Uploading and Using Excel Spreadsheets
Learning Objectives

## Slide 21: Questions? / Comments
Michael L. Schwartz
Cal Lab Solutions
mschwartz@callabsolutions.com